| Checklist items | Completed? |
| --- | --- |
| Do you have all necessary tools as set out in section 4.1 |  |
| Have you unpacked the VELOX MCC as set out in section 4.4 ? |  |
| Have you lifted the VELOX MCC as set out in section 4.5 ? |  |
| Have you mechanically installed the VELOX MCC as set out in section 4.3? |  |
| Have you electrically installed the VELOX MCC as set out in section 4.7 |  |

| Completed By | Date |
| --- | --- |

| Ref No. | Equipment Part No. / Description | Interval (Months) | Type of Inspection | Completed By (Sign and Date) |
| --- | --- | --- | --- | --- |
| 6.1 | Cleaning the Exterior of the VELOX MCC | 3 | Visual and clean |  |
| 6.2 | Air Ducts | 3 | Visual / clean as required |  |
| 6.3 | Enclosure and Doors | 6 | Visual |  |
| 6.4 | LED | 12 | Visual |  |
| 6.5 | HMI | 12 | Visual |  |
| 6.6 | E Stop Button Safety Interlock System | 12 | Visual and Test |  |